## Slide 1
Microcontroller Knee Joint
Mr. Firas Thair Al-Maliky

## Slide 2
Microprocessor-controlled knees (MCKs) do not utilize motors to power joint rotation, but they adjust damping in the knee to improve swing- and/or stance-phase control as appropriate for the user during gait
Microcontroller Knee Joint

## Slide 4
Some of the newer microprocessor-controlled knees currently on the market utilize adaptive control to automatically adjust to a user’s gait over time, so less setup and fine-tuning of the device is required by the prosthetist. Emphasis, too, is being placed on developing knees that are less costly, less complex, and more dependable than earlier microprocessor-controlled designs
Microcontroller Knee Joint